## SCRipt
The SCRipt subsystem allows you to start and stop MicroPython scripts. It is also possible to define scripts that will be executed during startup.

SCPI command	Description
SCRipt
:RECall {<filename>}	Sets the script to run on the startup
:CLEar	Clear currently selected startup script
:CONFirmation {<bool>}	Enables/disables startup script confirmation
:RUN {<filename>}	Sets a script to be executed immediately
:STOP	Forcibly stops the currently active script

### SCRipt:RECall
Syntax	SCRipt:RECall {<filename>} / SCRipt:RECall?
Description	Use this command to select the MicroPython script to run on the startup. The full path to the file must be specified. This filename must exist on the SD card otherwise an error will be generated. Use the MMEMory:CATalog? command to check which scripts exist in the specified folder.
Parameters	Name	Type	Range	Default
	<filename>	Quoted string	–	–
Return	The query command returns the full path of the script that will be run at startup.
Usage example	SCR:REC "/Scripts/AutoStart.py"
Errors	-256,"File name not found"
Related Commands	MMEMory:CATalog / SCRipt:RECall:CONFirmation / SCRipt:RUN / SCRipt:STOP

### SCRipt:RECall:CLEar
Syntax	SCRipt:RECall:CLEar
Description	Use this command to clear currently defined startup script.
Usage example	SCR:REC:CLE
Related Commands	SCRipt:RECall / SCRipt:RECall:CONFirmation

### SCRipt:RECall:CONFirmation
Syntax	SCRipt:RECall:CONFirmation {<bool>} / SCRipt:RECall:CONFirmation?
Description	Use this command to specify whether a dialog box will appear on the screen during startup with information about the name of the script whose execution will need to be confirmed.
Parameters	Name	Type	Range	Default
	<bool>	Boolean	ON|OFF|0|1	–
Return	The query command returns 0 if the script confirmation mode is OFF, and 1 if the confirmation mode is ON.
Usage example	SCR:REC:CONF 1
Related Commands	SCRipt:RECall

### SCRipt:RUN
Syntax	SCRipt:RUN {<filename>} / SCRipt:RUN?
Description	Use this command to run the MicroPython script specified with the full path name to the file. This filename must exist on the SD card otherwise an error will be generated. / Use the MMEMory:CATalog? command to check which scripts exist in the specified folder.
Parameters	Name	Type	Range	Default
	<bool>	Boolean	–	–
Return	The query command returns the present setting of the integration time.
Usage example	SCR:RUN "/Scripts/Hello world.py" / SCR:RUN? / "/Scripts/Hello world.py"
Errors	310,"File not found" / 770,"Script engine is already running"
Related Commands	MMEMory:CATalog / SCRipt:RECall

### SCRipt:STOP
Syntax	SCRipt:STOP
Description	Use this command to forcibly stop currently active script. Useful in case when script got stuck without need to restart the BB3.
Usage example	SCR:STOP
Related Commands	SCRipt:RECall / SCRipt:RUN