## ABORT
Abort commands cancel any triggered actions.

SCPI command	Description
ABORt	Resets the trigger system to the Idle state
:DLOG	Stops the internal data logging session

### ABORt
Syntax	ABORt
Modules	DCP405 DCP405B DCM220
Description	The ABORt command resets the trigger system and places all trigger sequences in the IDLE state. Any actions related to the trigger system that are in progress will be also aborted as quickly as possible. As a result, subsequent triggers have no effect on the input level. / ABORt is also executed at power-on and upon execution of the *RST command.
Usage example	ABOR
Related Commands	*RST / INITiate / [SOURce[<n>]]:CURRent:TRIGgered / [SOURce[<n>]]:VOLTage:TRIGgered / [SOURce[<n>]]:LIST:COUNt

### ABORt:DLOG
Syntax	ABORt:DLOG
Modules	DCP405 DCP405B DCM220
Description	This command stops the internal data logging session. / ABORt:DLOG is also executed at power-on and upon execution of the *RST command.
Usage example	ABOR:DLOG
Related Commands	*RST