## HCOPy
The Hardcopy commands are used to print the entire display to a specified file rather than “printing” to an external device.

SCPI command	Description
HCOPy
[:IMMediate]	Initiates hardcopy output
:DESTination {<destination>}	Sets the hardcopy destination
:SDUMp[:IMMediate]	Initiates hardcopy output

### HCOPy:DESTination
Syntax	HCOPy:DESTination {<destination>}
Description	Not implemented yet / This command sets the hardcopy destination. The destination is always set to MMEMory (i.e. SD Card). This command is included only for compatibility with the SCPI standard. The destination file on the mass memory device is specified by the MMEMory:NAME command.
Usage example	HCOPY:DEST MMEM
Related Commands	MMEMory:CLOSe / MMEMory:NAME / MMEMory:OPEN

### HCOPy[:IMMediate]
Syntax	HCOPy[:IMMediate]
Description	Not implemented yet / This command immediately initiates hardcopy output according to the current HCOPy setup parameters. This command is the same as HCOPy:SDUMp[:IMMediate].
Usage example	MMEM:NAME "sample1.png" / MMEM:OPEN / HCOP:DEST "MMEM" / HCOP / MMEM:CLOS
Related Commands	HCOPy:DESTination / HCOPy:SDUMp[:IMMediate]

### HCOPy:SDUMp[:IMMediate]
Syntax	HCOPy:SDUMp[:IMMediate]
Description	Not implemented yet / This command initiates a screen dump of the entire TFT display's screen, and is the same as the HCOPy[:IMMediate] command.
Usage example	MMEM:NAME "sample2.png" / MMEM:OPEN / HCOP:DEST "MMEM" / HCOP:SDUM / MMEM:CLOS
Related Commands	HCOPy:DESTination / HCOPy[:IMMediate]